## Elements
Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: FiveWs Pattern | Mapping: RIM Mapping
DeviceMetric |  |  |  | 0 | * |  |  |  |  | Measurement, calculation or setting capability of a medical device | Describes a measurement, calculation or setting capability of a medical device. | For the initial scope, this DeviceMetric resource is only applicable to describe a single metric node in the containment tree that is produced by the context scanner in any medical device that implements or derives from the ISO/IEEE 11073 standard. | [17 empty] | DeviceMetric | 0 | * |  | dom-2:If the resource is contained in another resource, it SHALL NOT contain nested Resources {contained.contained.empty()} dom-4:If a resource is contained in another resource, it SHALL NOT have a meta.versionId or a meta.lastUpdated {contained.meta.versionId.empty() and contained.meta.lastUpdated.empty()}dom-3:If the resource is contained in another resource, it SHALL be referred to from elsewhere in the resource or SHALL refer to the containing resource {contained.where((('#'+id in (%resource.descendants().reference ¦ %resource.descendants().as(canonical) ¦ %resource.descendants().as(uri) ¦ %resource.descendants().as(url))) or descendants().where(reference = '#').exists() or descendants().where(as(canonical) = '#').exists() or descendants().where(as(canonical) = '#').exists()).not()).trace('unmatched', id).empty()}dom-6:A resource should have narrative for robust management {text.div.exists()}dom-5:If a resource is contained in another resource, it SHALL NOT have a security label {contained.meta.security.empty()} |  | Entity. Role, or Act
DeviceMetric.id |  |  |  | 0 | 1 |  |  | Y | id {[]} {[]} | Logical id of this artifact | The logical id of the resource, as used in the URL for the resource. Once assigned, this value never changes. | The only time that a resource does not have an id is when it is being submitted to the server using a create operation. | [17 empty] | Resource.id | 0 | 1
DeviceMetric.meta |  |  |  | 0 | 1 |  |  | Y | Meta {[]} {[]} | Metadata about the resource | The metadata about the resource. This is content that is maintained by the infrastructure. Changes to the content might not always be associated with version changes to the resource. | [18 empty] | Resource.meta | 0 | 1
DeviceMetric.implicitRules |  |  |  | 0 | 1 |  | Y | Y | uri {[]} {[]} | A set of rules under which this content was created | A reference to a set of rules that were followed when the resource was constructed, and which must be understood when processing the content. Often, this is a reference to an implementation guide that defines the special rules along with other profiles etc. | Asserting this rule set restricts the content to be only understood by a limited set of trading partners. This inherently limits the usefulness of the data in the long term. However, the existing health eco-system is highly fractured, and not yet ready to define, collect, and exchange data in a generally computable sense. Wherever possible, implementers and/or specification writers should avoid using this element. Often, when used, the URL is a reference to an implementation guide that defines these special rules as part of it's narrative along with other profiles, value sets, etc. | [17 empty] | Resource.implicitRules | 0 | 1
DeviceMetric.language |  |  |  | 0 | 1 |  |  |  | code {[]} {[]} | Language of the resource content | The base language in which the resource is written. | Language is provided to support indexing and accessibility (typically, services such as text to speech use the language tag). The html language tag in the narrative applies to the narrative. The language tag on the resource may be used to specify the language of other presentations generated from the data in the resource. Not all the content has to be in the base language. The Resource.language should not be assumed to apply to the narrative automatically. If a language is specified, it should it also be specified on the div element in the html (see rules in HTML5 for information about the relationship between xml:lang and the html lang attribute). | [9 empty] | preferred | A human language. | http://hl7.org/fhir/ValueSet/languages | [5 empty] | Resource.language | 0 | 1
DeviceMetric.text |  | narrative htmlxhtmldisplay |  | 0 | 1 |  |  |  | Narrative {[]} {[]} | Text summary of the resource, for human interpretation | A human-readable narrative that contains a summary of the resource and can be used to represent the content of the resource to a human. The narrative need not encode all the structured data, but is required to contain sufficient detail to make it "clinically safe" for a human to just read the narrative. Resource definitions may define what content should be represented in the narrative to ensure clinical safety. | Contained resources do not have narrative. Resources that are not contained SHOULD have a narrative. In some cases, a resource may only have text with little or no additional discrete data (as long as all minOccurs=1 elements are satisfied). This may be necessary for data from legacy systems where information is captured as a "text blob" or where text is additionally entered raw or narrated and encoded information is added later. | [17 empty] | DomainResource.text | 0 | 1 |  |  |  | Act.text?
DeviceMetric.contained |  | inline resources anonymous resourcescontained resources |  | 0 | * |  |  |  | Resource {[]} {[]} | Contained, inline Resources | These resources do not have an independent existence apart from the resource that contains them - they cannot be identified independently, and nor can they have their own independent transaction scope. | This should never be done when the content can be identified properly, as once identification is lost, it is extremely difficult (and context dependent) to restore it again. Contained resources may have profiles and tags In their meta elements, but SHALL NOT have security labels. | [17 empty] | DomainResource.contained | 0 | * |  |  |  | N/A
DeviceMetric.extension |  | extensions user content |  | 0 | * |  |  |  | Extension {[]} {[]} | Additional Content defined by implementations | May be used to represent additional information that is not part of the basic definition of the resource. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.extension | 0 | * |  |  |  | N/A
DeviceMetric.modifierExtension |  | extensions user content |  | 0 | * |  | Y |  | Extension {[]} {[]} | Extensions that cannot be ignored | May be used to represent additional information that is not part of the basic definition of the resource, and that modifies the understanding of the element that contains it. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.modifierExtension | 0 | * |  |  |  | N/A
DeviceMetric.identifier |  |  |  | 0 | * |  |  | Y | Identifier {[]} {[]} | Instance identifier | Unique instance identifiers assigned to a device by the device or gateway software, manufacturers, other organizations or owners. For example: handle ID. | For identifiers assigned to a device by the device or gateway software, the `system` element of the identifier should be set to the unique identifier of the device. | [17 empty] | DeviceMetric.identifier | 0 | * |  |  | FiveWs.identifier
DeviceMetric.type |  |  |  | 1 | 1 |  |  | Y | CodeableConcept {[]} {[]} | Identity of metric, for example Heart Rate or PEEP Setting | Describes the type of the metric. For example: Heart Rate, PEEP Setting, etc. | DeviceMetric.type can be referred to either IEEE 11073-10101 or LOINC. | [9 empty] | extensible |  | http://hl7.org/fhir/uv/pocd/ValueSet/11073MDC-metric | [5 empty] | DeviceMetric.type | 1 | 1 |  |  | FiveWs.class
DeviceMetric.unit |  |  |  | 0 | 1 |  |  | Y | CodeableConcept {[]} {[]} | Unit of Measure for the Metric | Describes the unit that an observed value determined for this metric will have. For example: Percent, Seconds, etc. | DeviceMetric.unit can refer to either UCUM or preferable a RTMMS coding system. | [9 empty] | extensible |  | http://hl7.org/fhir/uv/pocd/ValueSet/11073MDC-dimension | [5 empty] | DeviceMetric.unit | 0 | 1
DeviceMetric.source |  |  |  | 1 | 1 |  |  | Y | Reference {[]} {[CanonicalType[http://hl7.org/fhir/uv/pocd/StructureDefinition/MdsDevice]]} | Describes the link to the source Device | Describes the link to the Device that this DeviceMetric belongs to and that contains administrative device information such as manufacturer, serial number, etc. | [18 empty] | DeviceMetric.source | 0 | 1
DeviceMetric.parent |  |  |  | 1 | 1 |  |  | Y | Reference {[]} {[CanonicalType[http://hl7.org/fhir/uv/pocd/StructureDefinition/ChannelDevice]]} | Describes the link to the parent Device | Describes the link to the Device that this DeviceMetric belongs to and that provide information about the location of this DeviceMetric in the containment structure of the parent Device. An example would be a Device that represents a Channel. This reference can be used by a client application to distinguish DeviceMetrics that have the same type, but should be interpreted based on their containment location. | [18 empty] | DeviceMetric.parent | 0 | 1
DeviceMetric.operationalStatus |  |  |  | 0 | 1 |  |  | Y | code {[]} {[]} | on ¦ off ¦ standby ¦ entered-in-error | Indicates current operational state of the device. For example: On, Off, Standby, etc. | [10 empty] | required | Describes the operational status of the DeviceMetric. | http://hl7.org/fhir/ValueSet/metric-operational-status | [5 empty] | DeviceMetric.operationalStatus | 0 | 1
DeviceMetric.color |  |  |  | 0 | 1 |  |  | Y | code {[]} {[]} | black ¦ red ¦ green ¦ yellow ¦ blue ¦ magenta ¦ cyan ¦ white | Describes the color representation for the metric. This is often used to aid clinicians to track and identify parameter types by color. In practice, consider a Patient Monitor that has ECG/HR and Pleth for example; the parameters are displayed in different characteristic colors, such as HR-blue, BP-green, and PR and SpO2- magenta. | [10 empty] | required | Describes the typical color of representation. | http://hl7.org/fhir/ValueSet/metric-color | [5 empty] | DeviceMetric.color | 0 | 1
DeviceMetric.category |  |  |  | 1 | 1 |  |  | Y | code {[]} {[]} | measurement ¦ setting ¦ calculation ¦ unspecified | Indicates the category of the observation generation process. A DeviceMetric can be for example a setting, measurement, or calculation. | [10 empty] | required | Describes the category of the metric. | http://hl7.org/fhir/ValueSet/metric-category | [5 empty] | DeviceMetric.category | 1 | 1 |  |  | FiveWs.class
DeviceMetric.measurementPeriod |  |  |  | 0 | 1 |  |  | Y | Timing {[]} {[]} | Describes the measurement repetition time | Describes the measurement repetition time. This is not necessarily the same as the update period. The measurement repetition time can range from milliseconds up to hours. An example for a measurement repetition time in the range of milliseconds is the sampling rate of an ECG. An example for a measurement repetition time in the range of hours is a NIBP that is triggered automatically every hour. The update period may be different than the measurement repetition time, if the device does not update the published observed value with the same frequency as it was measured. | [18 empty] | DeviceMetric.measurementPeriod | 0 | 1
DeviceMetric.calibration |  |  |  | 0 | * |  |  | Y | BackboneElement {[]} {[]} | Describes the calibrations that have been performed or that are required to be performed | Describes the calibrations that have been performed or that are required to be performed. | [18 empty] | DeviceMetric.calibration | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
DeviceMetric.calibration.id |  |  |  | 0 | 1 |  |  |  | string {[]} {[]} | xml:id (or equivalent in JSON) | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
DeviceMetric.calibration.extension |  | extensions user content |  | 0 | * |  |  |  | Extension {[]} {[]} | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  |  |  | n/a
DeviceMetric.calibration.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension {[]} {[]} | Extensions that cannot be ignored if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | BackboneElement.modifierExtension | 0 | * |  |  |  | N/A
DeviceMetric.calibration.type |  |  |  | 0 | 1 |  |  | Y | code {[]} {[]} | unspecified ¦ offset ¦ gain ¦ two-point | Describes the type of the calibration method. | [10 empty] | required | Describes the type of a metric calibration. | http://hl7.org/fhir/ValueSet/metric-calibration-type | [5 empty] | DeviceMetric.calibration.type | 0 | 1
DeviceMetric.calibration.state |  |  |  | 0 | 1 |  |  | Y | code {[]} {[]} | not-calibrated ¦ calibration-required ¦ calibrated ¦ unspecified | Describes the state of the calibration. | [10 empty] | required | Describes the state of a metric calibration. | http://hl7.org/fhir/ValueSet/metric-calibration-state | [5 empty] | DeviceMetric.calibration.state | 0 | 1
DeviceMetric.calibration.time |  |  |  | 0 | 1 |  |  | Y | instant {[]} {[]} | Describes the time last calibration has been performed | Describes the time last calibration has been performed. | [18 empty] | DeviceMetric.calibration.time | 0 | 1